MEETING AGENDA

Call to order

Introductions

Chairman: Greg Cullison Comments

Review and Approval of Previous Meeting Minutes

State Electrical Board Update

IAEI Update

Utility Report

UL Report

NEMA Report

I.B.E.W LU. 68

D.J.A.T.C

IEC Report

Jurisdiction Reports

Field Problems

NECA Report

Good of the Order

Adjournment

ELECTRICAL INSPECTORS MEETING MINUTES OF JULY 16, 2014

THE GOLDEN CORRAL

I           CALL TO ORDER: 12:20 PM

II          INTRODUCTIONS: (see attached schedule). Chairman, Greg Cullison, comments and  announcements: Please, when asking a question or commenting, speak loud enough for the recorder to pick up your voice, and introduce yourself. Thank you

III        MINUTES FROM PREVIOUS MEETING:

M/S, accepted and approved

IV        STATE:

State inspectors very, very busy

Continuing competency assessment is on website for July to take the assessment. PDU requirements and a learning plan need to be established plan before the assessment can be scheduled. A 60 day grace to complete PDU and assessment is granted. Your license will be expired on September 30, 2014. Inspectors can issue citations and enforce State statutes.

Contact:

Abi Gaskins

Division Wide Programs Manager

Office of Division Wide Programs and Systems

Colorado Department of Regulatory Agencies

Division of Professions and Occupations

Management Branch

1560 Broadway, Suite 1350

Denver CO 80202

P 303.894.2812 | F 303.869.0304

abigail.gaskins@state.co.us

July 1, 2014 State adopts 2014 NEC, you can schedule to take your 2014 NEC assessment, permits issued July 1, 2014 will be inspected to the 2014 NEC.

V         I.A.E.I.:

Rocky Mountain Chapter Executive Board meeting July 18, 2014.

No further classes are being scheduled for the rest of the year. Supported assessment scheduling information from State report.

Visit the IAEI website : rocky-iaei.org for information on meetings, locations, costs and schedules  for 2014 classes.

VI        XCEL:

Meters that is not energized, pleased leave it alone. Contact Xcel, local jurisdiction. There have been reports of these exploding.

Eaton is still working through the design of their meter sockets. Talon meter block are still approved for installation.

October 2014 deadline for construction meter by pass lever requirement.

Any question for evaluation in the field for service installations should be initiated from the builders call line. 1-800-628-2121

www.xcelenergy.com

VII       N.R.T.L.:

U/L:      Introduction of :

Tyson Long

Sr. Project Engineer

Field Evaluations

Tyson.D.Long@ul.com

O. 877-854-9577 x2

C. 720-201-1247

White books made available. Online www.ul.whitebook  latest edition.

The U/L hotline phone number is: 1-800-595-9844, select # 2 and then enter extension 42160 for Tom LichtensteinCode authority home page: : www.ul.com/codeauthorities

UL Newsletter:  The Code Authority: Electrical Connections

http://www.ul.com/tcaec

UL White Book pdf:  www.ul.com/whitebook

INTERTEK:

Please contact for any testing or assistance

Telephone: 720-271-0829. Fax: 503-626-7328. E-mail: jack.lawall@intertek.com

VIII      N.E.M.A.:  No representation.

www.nema.org:

IX        I.B.E.W.: Local 68:

Supports State report on scheduling assessment.

X         D.J.A.T.C.  :

Apprenticeship is still accepting applications daily.

Call 303-293-1903 or go to DJEATC68.com.

XI        I.E.C.:

Very busy, please check site for PDU and other classes.

A Safety Committee is organizing a class for a disaster scenario. In Oct. we are trying to fill a class for 200 participants. More information to follow.

We welcome Mr. Conrad to our staff.

For additional classes and information go to website iecrm.org

XII       Jurisdiction reports: No reports

XIII      FIELD PROBLEMS:

Is GFCI protection required for a receptacle, not assessible, behind equipment in a bathroom?

*Receptacle shall be GFCI protected and accessible. Could install blank face GFCI.

Traffic control panel, requirement of receptacle inside controller?

*If installed by manufacture in equipment as part of listed equipment and labeled, it is part of that listing and shall not be modified.  If installed after, installation will need to be GFCI protected.

Rapid shut off requirements for 2014 NEC enforcement.

*Links have been added to minutes of July meeting. Discussion of previous information followed. Tabled for further discussion.

Is the additional ground rod requirement of 690.47.D to be enforced in 2014?

*Yes

Emailed question : Wind Power 2014 NEC requirements.

         From the AHJ perspective, what are the compliance issues they are most concerned with?

         How far up into the turbine they will be going to verify components or products?

         Will they be requiring Listing or Labeling for the entire assembly?

         Note – this is preliminary, but it may be possible to have a generation only certification, a separate blade, separate nacelle, and separate tower certification as opposed to having the entire WTG with one UL Mark on it.

*Links:

Subject: Wind Power

https://mail.google.com/mail/u/0/?ui=2&ik=c08cba7f14&view=att&th=147d4cbd31eec4ea&attid=0.1&disp=inline&safe=1&zw

http://www.nrel.gov/wind/

http://www.awea.org/

http://support.flir.com/appstories/AppStories/Electrical&Mechanical/Wind%20turbine%20inspections.pdf

System Manufacturers

Commercial Industrial

http://agreenroad.blogspot.com/2012/04/ten-largest-wind-turbine-manufacturers.html

https://www.hqs.sbt.siemens.com/gip/general/dlc/data/assets/hq/manual/02_ds_Safetyandprotectionforwindturbines_EN_2951.pdf

http://www.vestas.com/en/products_and_services/options_and_solutions#!

http://www.vestas.com/en/products_and_services/options_and_solutions#!

Residential

http://www.homepower.com/articles/wind-power/equipment-products/2014-wind-turbine-buyers-guide?v=print

Resources

AWEA standards page • bit.ly/WindStandards

Intertek • www.intertek.com/wind/small

ITAC • bit.ly/ITACturbines • Unified list of wind turbines

Microgeneration Certification Scheme • microgenerationcertification.org

Small Wind Certification Council • smallwindcertification.org

TUV • bit.ly/TUVnelCert

John Fernandez Jr.

Emailed  question?

How can I explain 680.26, more effectively to pool installers?

*Subject: 680.26

http://iaei-suburbandivision.webs.com/documents/IAEI%202011%20NEC%20Above%20Ground%20Spa%20(sample).pdf

http://iaei-suburbandivision.webs.com/documents/IAEI%202011%20NEC%20Above%20Ground%20Pool%20(sample).pdf

http://ecmweb.com/nec/2011-national-electrical-code-changes?page=24

http://www.nfpa.org/~/media/Files/Research/Research%20Foundation/Research%20Foundation%20reports/rfpoolbonding.pdf

http://www.erico.com/public/library/fep/LT1242.pdf

X111    N.E.C.A

Inspectors tab, for inspectors and/or contractors:

Questions can be submitted for meeting discussion. Please e-mail request for previous meeting minutes. Calendar for future meetings and events will be posted on website.

Website info, rmcneca.org.

XIV     Good of the Order

Thank you to Xcel for the help in Arvada

XV       NEXT MEETING:

Wednesday, September 16, 2014

The Golden Corral

XVI     ADJOURNED:

Motion to adjourned and approved at 12:50 pm

Minutes submitted by Tito Aleman Jr.